**User Manual**

**Hyperpolarized 129Xenon MRI Analysis App**

For Research Use Only

**User’s Manual**

**HP 129Xe MRI Analysis App**

Copyright ©2023

Cincinnati Children's Hospital Medical Center.

Center for Pulmonary Imaging Research.

©2023 CCHMC, CPIR- All Rights Reserved.

Author: CCHMC-CPIR

Released Date: 11/05/2023.

For any question, please email:

Abdullah Bdaiwi

abdullah.bdaiwi@cchmc.org

Table of Contents

[1 | Overview 4](#_Toc139643780)

[2 | Flip Angle and Frequency Calibration 9](#_Toc139643781)

[2.1 | Input 9](#_Toc139643782)

[2.2 | Adjusting Parameters 10](#_Toc139643783)

[2.3 | Save Results 11](#_Toc139643784)

[3 | Image Analysis 12](#_Toc139643785)

[3.1 | Inputs 12](#_Toc139643786)

[3.2 | Registration 13](#_Toc139643787)

[3.3 | Segmentation 14](#_Toc139643788)

[3.4 | post-Processing 21](#_Toc139643789)

[3.4 | Results 24](#_Toc139643790)

[3.6 | Patient Report 27](#_Toc139643791)

[3.6 | Viewing Window 28](#_Toc139643792)

[4 | Code Structure 29](#_Toc139643793)

[4.1 | Code Hierarchy 29](#_Toc139643794)

[4.2 | Implement Your Own Functions 31](#_Toc139643795)

[4 | Debugging 31](#_Toc139643796)

[5 | Report Issues 31](#_Toc139643797)

# A screenshot of a computer Description automatically generated1 | Overview

Main Menus:

About: Provides an insightful overview of the application and its functionalities.

Start Fresh: Restores the app to its default settings and eliminates all variables. This feature proves beneficial when handling numerous subjects consecutively.

Screenshot: Captures the entire app window and saves it as a high-quality PNG file.

Help: Guides you to the comprehensive user manual, offering assistance and clarification.

Exit: Safely shuts down the application, concluding the user's session.

A screenshot of a computer

Description automatically generated

Institutes and Scanner Options:

These exceptional features allow for seamless customization of the application according to your specific requirements. They prove particularly valuable when working with multiple scanners, scanner software versions, and sequences.

A screenshot of a computer

Description automatically generated

Main Tabs:

Calibrations: Manages flip angles and frequency calibration, ensuring precise adjustments for optimal acquisitions.

Image Analysis: Facilitates image reconstruction and conducts comprehensive post-processing analysis, enabling in-depth examination and evaluation.

Note: These two tabs operate independently from each other, maintaining separate sets of parameters. There is no parameter sharing between them, ensuring complete autonomy and flexibility.

A screenshot of a computer

Description automatically generated

A screenshot of a computer

Description automatically generated

Status Window:

The status window presents a text box that provides real-time updates on tasks and displays error messages when necessary. It serves as a valuable tool for tracking progress and promptly addressing any issues that may arise.

A screenshot of a computer

Description automatically generated

Lamp:

Green: Signals that the app is ready for execution, indicating availability for use.

Red: Indicates that the app is currently unable to process tasks. It's important to note that if a bug occurs and the process halts midway, the lamp will not turn green until another task is initiated.

# 2 | Flip Angle and Frequency Calibration

## A screenshot of a computer Description automatically generated2.1 | Input

Perform Calibration Analysis:

1- Select Data: Choose the flip angle calibration data from the available options (refer to Table 2.1 for supported data types).

2 – Perform Calibration: Read in the selected data and conduct essential fittings and calculations to obtain accurate results. The determined optimal flip angles and frequency parameters are subsequently entered prior to image acquisition.

Table 2.1: Supported data type for Calibration analysis

|  |  |  |  |
| --- | --- | --- | --- |
| Scanner | Philips | Siemens | GE |
| Data Type | .data\*/.list | .dat\* |  |

\* The data that needs to be selected!

## 2.2 | Adjusting Parameters

A screenshot of a computer

Description automatically generated

Perform Calibration Analysis:

The calibration analysis allows for flexibility in adjusting parameters both before and after the analysis. These input parameters possess a dynamic property, meaning that any changes made to their values will automatically update the calculations. This enables effortless refinement and adaptation of the analysis based on parameter modifications.

## 2.3 | Save Results

A screenshot of a computer

Description automatically generated

Save Results:

Saves a screenshot of the entire app window as a PNG and PDF files in the data path.

# 3 | Image Analysis

## A screenshot of a computer Description automatically generated3.1 | Inputs

Load Data:

1- Choose Analysis Type: Select the desired type of analysis from the available options.

2- Gas Data Selection: Choose the data file/s for analysis. If raw data is selected, reconstruction functions will be invoked to process the data.

3- Proton Data Selection: If proton data is available, select the corresponding data. Otherwise, check the "No Proton Images" box.

4- Load Data: Load the selected data for further processing and analysis.

5- Image Selection: Select the specific type of images to view.

1

2

3

4

5

A screenshot of a computer

Description automatically generated

## 3.2 | Registration

A screenshot of a computer

Description automatically generated

Perform Registration:

1. Registration Type Selection: Choose the desired registration type, with "affine" being the recommended option for optimal results.

2. Image Resolution: If the two images have different voxel sizes, it is advisable to specify the image resolution for accurate registration. The ratio of the image sizes can also be used as a reference.

3. Slice Selection: In case the slices of the images do not align, you can specify the starting and ending slices of the matched region. Linear interpolation will be employed to adjust the number of slices accordingly.

4. Registration Process: Initiate the registration process for multimodal 3D medical images.

5. Image Selection: Select image type to view.

1

2

3

4

5

## 3.3 | Segmentation

Manual Segmentation:

1-Select "Manual Segmentation" from the dropdown menu.

2-Specify the image type for segmentation. Note that only grayscale images are accepted for freehand segmentation.

3-Initiate the segmentation process.

1

2

3

A screenshot of a computer

Description automatically generated

A screenshot of a computer

Description automatically generated

Manual Segmentation:

1-Select "Manual Segmentation" from the dropdown menu.

2-Specify the image type for segmentation. Note that only grayscale images are accepted for freehand segmentation.

3-Initiate the segmentation process.

Manual segmentation utilizes [MATLAB's built-in App Volume Segmenter](https://www.mathworks.com/help/images/ref/volumesegmenter-app.html) which offers many advanced segmentation tools.

1

2

3

A screenshot of a computer

Description automatically generated

A screenshot of a computer

Description automatically generated

Manual Segmentation:

1-Create two labels for the lungs and airways.

2-Choose a drawing method such as Freehand, Paintbrush, etc.

3-Draw masks for the lungs and airways using the selected method.

4-After completing the masks, save them in the Xenon data folder with the filename "mask". Please ensure that the name of the mask is either "mask," "MASK," or "Mask," as any other name will not be uploadable.

Note: There are several segmentation tools available, including thresholding and the option to add your own functions. Feel free to explore and find the most suitable tool for your needs. [MATLAB's built-in App Volume Segmenter](https://www.mathworks.com/help/images/ref/volumesegmenter-app.html)

1

2

3

A screenshot of a computer

Description automatically generated

4

A screenshot of a computer

Description automatically generated

Manual Segmentation:

1-Once you have saved the mask, click on "Load Segmented Mask" to automatically upload the mask.

2-You can view the lungs and airway mask by selecting the desired option from the "Viewing Mask" dropdown menu.

1

2

A screenshot of a computer

Description automatically generated

Threshold Segmentation:

1-Select "Threshold Segmentation" from the dropdown menu.

2-Choose the images to be segmented. For the Threshold method, only grayscale images are accepted. Please note that the airway mask can only be drawn manually (refer to the next page for instructions).

3-Select the desired anatomy, threshold level, and erosion level.

4-Initiate the segmentation process.

5Image Selection: Choose the image type you want to view.

1

2

3

4

5

A screenshot of a computer

Description automatically generated

Threshold Segmentation:

1-Select "Airway”

2- Initiate the segmentation process. The airway mask can only be drawn manually.

Begin drawing the boundaries of the airways by clicking and moving the mouse. You can adjust the points by holding the click and dragging them inward or outward. You can also move the entire region of interest (ROI) by click-holding and moving it. Once finished, double-click in the middle of the ROI.

From prompted, select "Yes" to segment another airway, or select "No" to proceed to the next slice.

Note: The analyst must possess sufficient knowledge about lung anatomy to accurately draw masks.

5Image Selection: Choose the image type you want to view.

1

2

A screenshot of a computer

Description automatically generated

A screenshot of a computer

Description automatically generated

A screenshot of a computer

Description automatically generated

Auto Segmentation:

1-Choose "Auto" from the dropdown menu. Please note that Auto segmentation is not supported for Diffusion analysis.

2-Select the slice orientation. Transversal orientation is not supported for any type of analysis in this current release.

3-Initiate the segmentation process. This will call the appropriate .exe applications. Please ensure that you manually add these files as they cannot be found on the GitHub account. Refer to the GitHub instructions for downloading these applications. Once the process begins, a prompt window will appear. Choose the MATLAB file named "Mat2Py\_preprocessing". The resulting mask will be saved in the data folder as "auto\_segmented\_mask" in both .mat and .nii formats.

4-Load the segmented mask.

1

2

3

4

A screenshot of a computer

Description automatically generated

A screenshot of a computer

Description automatically generated

output

input

## 3.4 | post-Processing

Post-Processing: Ventilation

1- Choose "Bias Field Correction" if required.

2-Specify threshold values. The default values are recommended.

3-Specify the means and standard deviations of the healthy reference distribution for linear binning analysis.

4-Select "Texture Analysis" if desired.

5-Initiate the analysis.

1

2

3

4

5

A screenshot of a computer

Description automatically generated

Post-Processing: Diffusion

1-Enter the b-values.

2-Choose the type of fitting.

3-Specify the means and standard deviations of the healthy reference distribution for linear binning analysis.

4-Select the desired morphometry settings. Please note that morphometry analysis requires a minimum of 4 b-values.

5-Initiate the analysis.

1

2

3

4

5

A screenshot of a computer

Description automatically generated

Post-Processing: Gas Exchange

1-Provide the means and standard deviations of the healthy reference distribution.

2-Initiate the analysis.

Note: The gas exchange analysis is complex and has been specifically coded for the CCHMC institute. We recommend implementing your own analysis pipeline using our analysis pipeline as a reference to meet your specific needs.

1

2

A screenshot of a computer

Description automatically generated

## A screenshot of a computer Description automatically generated3.4 | Results and Outputs

A screenshot of a computer

Description automatically generatedVentilation

A black screen with white text

Description automatically generated

A screenshot of a computer

Description automatically generated

A screenshot of a computer

Description automatically generated

A screenshot of a computer

Description automatically generatedDiffusion

A screenshot of a computer

Description automatically generated

A screenshot of a computer

Description automatically generated

Gas Exchange

A screenshot of a medical software

Description automatically generated

A screenshot of a computer

Description automatically generated

A screenshot of a computer

Description automatically generated

## A screenshot of a computer Description automatically generated3.6 | Patient Report

Patient Report

1-Complete the patient report information.

2-Generate the report.

This will generate .ppt and .pdf files containing all patient information and a summary of the findings.

Additionally, we recommend opening the analysis PowerPoint file to address any misalignments or make any desired additions before generating the report.

1

2

A screenshot of a computer

Description automatically generated

A screenshot of a computer

Description automatically generated

A screenshot of a computer

Description automatically generated

A screenshot of a computer

Description automatically generated

## 3.6 | Viewing Window

Color of crosshair options

Enable and disable crosshair

A screenshot of a computer

Description automatically generated

Linewidth of the crosshair

Size of the orthogonal image view

Color bar of the viewed images.

Colormap options view

Rotate by the selected value\*90o

Select 1 to flip P<->A & 2 to flip R<->L)

Swap dimension

Contrast scale

Browse between slices by holding the middle of the crosshair and moving the cursor.

Interpolate to 3D isotopic volume

Normalize image between 0 - 1

View pixel information and measurements

nD image viwer

Name of the currant viewed images

Apply the preformed changes for further analysis. Once changes applied, it can’t be undone.

Remove all changes.

Browse between slices

# 4 | Code Structure

## 4.1 | Code Hierarchy



The app skeleton consists of the complete layout and interface.

A screenshot of a computer

Description automatically generated

Necessary functions for Calibration analysis

Necessary functions for Diffusion analysis

Necessary functions for Gas Exchange analysis

Global function that are used in all analyses.

Necessary functions for loading and reconstruction of images

Necessary functions for performing Registration.

Necessary functions for performing Segmentation.

Necessary functions for ventilation analysis

Main functions:

Calibration analysis: StartCalibrationAnalysis()

Calibration.XeCTC\_Calibration()

Calibration.Xe\_duke\_UVA\_calibration()

Load Data: LoadData.LoadReadData()

LoadData.DICOM\_Load()

load()

LoadData.load\_nii()

LoadData.LoadData\_Gas\_VentDiff\_Philips\_GRE()

LoadData.LoadData\_Gas\_GasExchange\_Philips\_Sin()

## 4.2 | Implement Your Own Functions

# 4 | Debugging

# 5 | Report Issues

1. Walkup LL, Woods JC. Translational applications of hyperpolarized 3He and 129Xe. NMR in Biomedicine 2014;27(12):1429-1438.

2. Goodson BM. Nuclear magnetic resonance of laser-polarized noble gases in molecules, materials, and organisms. Journal of Magnetic Resonance Imaging: An Official Journal of the International Society for Magnetic Resonance in Medicine 2002;155(2):157-216.

3. Ruppert K. Biomedical imaging with hyperpolarized noble gases. Reports on Progress in Physics 2014;77(11):116701.

4. Mugler III JP, Altes TA. Hyperpolarized 129Xe MRI of the human lung. Journal of Magnetic Resonance Imaging 2013;37(2):313-331.

5. Bdaiwi AS, Niedbalski PJ, Hossain MM, Willmering MM, Walkup LL, Wang H, Thomen RP, Ruppert K, Woods JC, Cleveland ZI. Improving hyperpolarized (129) Xe ADC mapping in pediatric and adult lungs with uncertainty propagation. NMR Biomed 2021:e4639.

6. Loew W, Thomen R, Pratt R, Cleveland Z, Dumoulin C, Woods J, Giaquinto RO. A dual loop T/R -Xenon coil for homogenous excitation with improved comfort and size ISMRM2016.

7. Niedbalski PJ, Bier EA, Wang Z, Willmering MM, Driehuys B, Cleveland ZI. Mapping cardiopulmonary dynamics within the microvasculature of the lungs using dissolved 129Xe MRI. 2020;129(2):218-229.

8. Willmering MM, Niedbalski PJ, Wang H, Walkup LL, Robison RK, Pipe JG, Cleveland ZI, Woods JC. Improved pulmonary 129Xe ventilation imaging via 3D‐spiral UTE MRI. Magnetic Resonance in Medicine 2020;84(1):312-320.

9. Abdullah S. Bdaiwi, Matthew M. Willmering, Hui Wang, Cleveland ZI. 2D and 3D Spiral for Diffusion Weighted MRI with Hyperpolarized 129Xe. International Society for Magnetic Resonance in Medicine. Virtual2021.

10. Niedbalski PJ, Hall CS, Castro M, Eddy RL, Rayment JH, Svenningsen S, Parraga G, Zanette B, Santyr GE, Thomen RP, Stewart NJ, Collier GJ, Chan H-F, Wild JM, Fain SB, Miller GW, Mata JF, Mugler III JP, Driehuys B, Willmering MM, Cleveland ZI, Woods JC. Protocols for multi-site trials using hyperpolarized 129Xe MRI for imaging of ventilation, alveolar-airspace size, and gas exchange: A position paper from the 129Xe MRI clinical trials consortium. 2021;86(6):2966-2986.