## Standard Sequences
Standard Sequences
|  | Unused/Unnecessary | Tested | Runs / Ready for Invivo Validation | Errors
Sequence | XD | Pulse Sequence | PSD | Options | FOV | Xres | Yres | Zres | TE | TR | Flip Angle
anatgx_cpir_25MRSI | 3 | SPGR |  | Fast | 25 | 5 | 5 | 5 | 0.536 | 1.3 | 3
anatgx_cpir_30MRSI | 3 | SPGR |  | Fast | 30 | 5 | 5 | 5 | 0.488 | 1.3 | 3
anatgx_cpir_35MRSI | 3 | SPGR |  | Fast | 35 | 5 | 5 | 5 | 0.476 | 1.3 | 3
anatgx_cpir_40MRSI | 3 | SPGR |  | Fast | 40 | 5 | 5 | 5 | 0.456 | 1.3 | 3
anatgx_mnsrp_3dMRSI | 2 | Fast GRE |  | EDR | 30 | 4.1667 | 4.1719 | 4.2 | 1.204 | 3.3 | 10
anatvent_xectc_20cart | 2 | Fast GRE |  | EDR,SqP | 20 | 2 | 2 | 15 | 1.028 | 3.2 | 10
anatvent_xectc_30cart | 2 | Fast GRE |  | EDR,SqP | 30 | 2 | 2 | 15 | 1.02 | 3.3 | 10
anatvent_xectc_40cart | 2 | Fast GRE |  | EDR,SqP | 40 | 2 | 2 | 15 | 1.04 | 3.5 | 10
cardiac_cpir_3Vflow | 2 | Vasc PC |  | FC,Gat,Seq,EDR,Fast,Asset | 30 | 2.5 | 2.5 | 8 | 2.8 | 4.7 | 10
cardiac_cpir_4dFlow | 3 | 4DFLOW |  | Gat,EDR,Fast,ARC | 25 | 1.9531 | 1.9531 | 2 | 1.6 | 3.6 | 10
Cor_GRE_Phantom_Noise | 2 | Fid CSI | fidcsi2 | EDR | 48 | 7.5 | 15 | 250 | 0 | 19.2 | 1
Cor_GRE_Phantom_Signal | 2 | Fid CSI | fidcsi2 | EDR | 48 | 7.5 | 15 | 250 | 0 | 750 | 74
preful_cpir_ffe | 2 | SPGR |  | Seq,EDR,Fast,MPh,ARC | 50 | 3.9062 | 3.9062 | 15 | 0.744 | 2.116 | 5
Proton_3D_GRE | 3 | SPGR |  | Fast | 40 | 6.25 | 6.25 | 6.25 | 0.456 | 1.6 | 3
Proton_Cor_GRE | 2 | Gradient Echo |  | Seq,Fast,Sqp,ZIP512 | 38.4 | 4 | 4 | 15 | 1.088 | 4.5 | 10
qa_cpir_FID | 2 | Fid CSI |  | EDR | 45 |  |  |  | 0 | 4000 | 90
qa_polarean_image | 2 | Fid CSI | fidcsi2 | EDR | 48 | 7.5 | 15 | 250 | 0 | 750 | 74
Scout_Localizer_3-plane | 2 | Gradient Echo |  | Seq,Fast | 50 | 1.9531 | 3.9062 | 15 | 1.084 | 4.436 | 30
stru_cpir_4dzte | 3 | Gradient Echo | research/ZTE4D/3dradial | EDR,Fast,SqP,ZIP512 | 35 | 1.5909 | 1.5909 | 1.6 | 0.016 | 200.28 | 2
sur_cpir_card2pcv | 2 | Fiesta |  | Gat,Seq,EDR,Fast,SqP,ZIP512,SonicDL | 36 | 1.875 | 2.25 | 8 | 0.9 | 2.6 | 49
sur_cpir_cardSACine | 2 | Fiesta |  | Gat,Seq,EDR,Fast,SqP,ZIP512,SonicDL | 36 | 1.875 | 2.25 | 8 | 0.9 | 2.6 | 49
sur_cpir_Localizer | 2 | Gradient Echo |  | Seq,Fast | 50 | 1.9531 | 3.9062 | 15 | 1.084 | 4.436 | 30
vent_xectc_20cart | 2 | Fid CSI | fidcsi2 | EDR | 20 | 4 | 4 | 15 | 0 | 123.6 | 10
vent_xectc_30cart | 2 | Fid CSI | fidcsi2 | EDR | 30 | 4 | 4 | 15 | 0 | 145.5 | 10
vent_xectc_40cart | 2 | Fid CSI | fidcsi2 | EDR | 40 | 4 | 4 | 15 | 0 | 155.9 | 10
Xenon_Cor_GRE_Ventilation | 2 | Fid CSI | fidcsi2 | EDR | 38.4 | 4 | 4 | 15 | 0 | 124.7 | 10
Note on A14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Need to figure out online flow analysis
Note on A16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Recons as all zeros online; can look at png in files
Note on A17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Recons as all zeros online; can look at png in files
Note on A22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Recons as all zeros online; can look at png in files

## MNSRP Sequences
Sequence Name | Flip Angle | TE | TR | CV3 - Scan Mode | ak_grad | recon26 | CV4 - Total number of scans | CV14 - rfpulse | exrf | CV19 - blosi | CV20 - vap | vap_ | cv21 - cv_pars | cv_pars_ | Notes
qa_cpir_PhantomCSI | 19 | 0.746 | 58.1 | 1 | MRSI Mode | /export/home/sdc/fidall/bin/stack_plot.py /export/home/sdc/fidall/bin/recon_csi.py /export/home/sdc/fidall/bin/recon_prescan.py | 1 | 0 | GE hard pulse | 0 | 0 | #N/A | 0 | #N/A
qa_mnsrp_SystemNoise | 90 | 0.455 | 74.6 | 1 | MRSI Mode | /export/home/sdc/fidall/bin/stack_plot.py /export/home/sdc/fidall/bin/recon_csi.py /export/home/sdc/fidall/bin/recon_prescan.py | 256 | 0 | GE hard pulse | 0 | 0 | #N/A | 0 | #N/A
cal_mnsrp_facal | 10 | 4.67 | 88.8 | 1 | MRSI Mode | /export/home/sdc/fidall/bin/stack_plot.py /export/home/sdc/fidall/bin/recon_csi.py /export/home/sdc/fidall/bin/recon_prescan.py | 12 | 0 | GE hard pulse | 4 | 0 | #N/A | 12 | cv_pars12.cvs
Xenon_Bloch_Siegert | 10 | 4.914 | 50 | 1 | MRSI Mode | /export/home/sdc/fidall/bin/stack_plot.py /export/home/sdc/fidall/bin/recon_csi.py /export/home/sdc/fidall/bin/recon_prescan.py | 20 | 52 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho | 4 | 0 | #N/A | 12 | cv_pars12.cvs
vent_mnsrp_2dCartesian | 10.3 | 2.048 | 154 | 15 | cart/cart2D_129Xe_fov300x240_mtx100x80_nexc80_kdt20_gmax32_smax99_dur4p92.wav | /export/home/sdc/fidall/bin/recon_cart_interp.py | 80 | 1 | GE soft pulse | 0 | 0 | #N/A | 15 | ../waveforms/cart/cv_pars_spgr.cvs
vent_mnsrp_vFA2dCartesian | 30 | 2.048 | 154 | 15 | cart/cart2D_129Xe_fov300x240_mtx100x80_nexc80_kdt20_gmax32_smax99_dur4p92.wav | /export/home/sdc/fidall/bin/recon_cart_interp.py | 80 | 1 | GE soft pulse | 0 | 15 | ../waveforms/cart/vap_vfa80_30.fdl | 15 | ../waveforms/cart/cv_pars_spgr.cvs
gx_mnsrp_3dMRSI | 10 | 0.357 | 7.9 | 17 | mrsi/mrsi3D_129Xe_scheme2_3_fov270_240_150_mtx18_16_10_bw20000_npts88_nexc1586_gmax16_smax87_crush2.wav | /export/home/sdc/fidall/bin/recon_mrsi_xenon.py | 1586 | 17 | /export/home/sdc/fidall/waveforms/rffiles/exrf_freq_flip40_t0p6_ref0p5_b1max11p855_bw1000.rho ../waveforms/rffiles/exrf_freq_flip40_t0p6_ref0p5_b1max11p855_bw1000.cvs | 0 | 17 | ../waveforms/mrsi/mrsi3D_129Xe_scheme2_3_fov270_240_150_mtx18_16_10_bw20000_npts88_nexc1586_gmax16_smax87_crush2_agx.fdl ../waveforms/mrsi/mrsi3D_129Xe_scheme2_3_fov270_240_150_mtx18_16_10_bw20000_npts88_nexc1586_gmax16_smax87_crush2_agy.fdl ../waveforms/mrsi/mrsi3D_129Xe_scheme2_3_fov270_240_150_mtx18_16_10_bw20000_npts88_nexc1586_gmax16_smax87_crush2_agz.fdl ../waveforms/mrsi/vap_flip_10deg.fdl | 17 | ../waveforms/mrsi/cv_pars_mrsi_xenon.cvs
qa_mnsrp_GradientNoise | 90 | 2.892 | 1000 | 27 | grad_noise/grad_noise_spiral_13C_fov300_ksamp2_gmax30_smax119_dur27p1.wav | /export/home/sdc/fidall/bin/characterise_grad_noise.py | 20 | 1 | GE soft pulse | 0 | 27 | ../waveforms/grad_noise/vap_flip_zero.fdl | 27 | ../waveforms/grad_noise/cv_pars_noise.cvs
cal_cpir_dissolved | 20 | 0.384 | 15 | 30 |  | /export/home/sdc/fidall/bin/recon_calibration_cchmc.py | 520 | 30 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho | 0 | 30 | ../waveforms/cal/cal_cpir_nexc520_ndiss500_dfreq202_freq.fdl ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl | 30 | ../waveforms/cal/cal_xxx.cvs | revalidate in vivo, confirm accurate dissolved fits
cal_xectc_dissolved | 20 | 0.384 | 15 | 31 |  | /export/home/sdc/fidall/bin/recon_calibration_cchmc.py | 520 | 31 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho | 0 | 31 | ../waveforms/cal/cal_xectc_nexc520_ndiss500_dfreq218_freq.fdl ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl | 31 | ../waveforms/cal/cal_xxx.cvs | validate in vivo
diff_cpir_40Cart4bs2d | 5.5 | 1.776 | 40.6 | 35 | diff_cpir_2dCart4bs/diffcart2D_129Xe_fov400_mtx80_nexc320_kdt52_gmax29_smax98_dur14p9_co.wav | /export/home/sdc/fidall/bin/recon_diffusion.py | 320 | 1 | GE soft pulse | 0 | 35 | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl | 35 | ../waveforms/diff_cpir_2dCart4bs/diff_cpir_2dCart4bs.cvs
diff_cpir_35Cart4bs2d | 5.8 | 1.776 | 40.6 | 36 | diff_cpir_2dCart4bs/diffcart2D_129Xe_fov350_mtx70_nexc280_kdt52_gmax29_smax98_dur14p3_co.wav | /export/home/sdc/fidall/bin/recon_diffusion.py | 280 | 1 | GE soft pulse | 0 | 36 | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl | 36 | ../waveforms/diff_cpir_2dCart4bs/diff_cpir_2dCart4bs.cvs
diff_cpir_30Cart4bs2d | 6.2 | 1.776 | 60.9 | 37 | diff_cpir_2dCart4bs/diffcart2D_129Xe_fov300_mtx60_nexc240_kdt52_gmax29_smax98_dur13p8_co.wav | /export/home/sdc/fidall/bin/recon_diffusion.py | 240 | 1 | GE soft pulse | 0 | 37 | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl | 37 | ../waveforms/diff_cpir_2dCart4bs/diff_cpir_2dCart4bs.cvs
diff_cpir_25Cart4bs2d | 6.8 | 1.776 | 81.2 | 38 | diff_cpir_2dCart4bs/diffcart2D_129Xe_fov250_mtx50_nexc200_kdt52_gmax29_smax98_dur13p4_co.wav | /export/home/sdc/fidall/bin/recon_diffusion.py | 200 | 1 | GE soft pulse | 0 | 38 | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl | 38 | ../waveforms/diff_cpir_2dCart4bs/diff_cpir_2dCart4bs.cvs
diff_cpir_20Cart4bs2d | 7.4 | 1.776 | 93.2 | 39 | diff_cpir_2dCart4bs/diffcart2D_129Xe_fov200_mtx40_nexc160_kdt52_gmax29_smax98_dur12p9_co.wav | /export/home/sdc/fidall/bin/recon_diffusion.py | 160 | 1 | GE soft pulse | 0 | 39 | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl | 39 | ../waveforms/diff_cpir_2dCart4bs/diff_cpir_2dCart4bs.cvs
gx_cpir_1ptDixon | 20 | 0.383 | 7.5 | 40 | gx_cpir_1ptDixon/interleaved_radial3D_129xe_fov325_mtx56_intlv2002_kdt18_gmax37_smax144_dur1p6_coca_rew2_1p25_GA5.wav | /export/home/sdc/fidall/bin/recon_grid3d_gx.py | 2002 | 40 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho | 0 | 40 | ../waveforms/gx_cpir_1ptDixon/interleaved_radial3D_129xe_fov325_mtx56_intlv2002_kdt18_gmax37_smax144_dur1p6_coca_rew2_1p25_GA5_flip.fdl ../waveforms/gx_cpir_1ptDixon/interleaved_radial3D_129xe_fov325_mtx56_intlv2002_kdt18_gmax37_smax144_dur1p6_coca_rew2_1p25_GA5_freq.fdl ../waveforms/gx_cpir_1ptDixon/vap_phase_rf_spoiling_262112.fdl | 40 | ../waveforms/gx_cpir_1ptDixon/gx_cpir_1ptDixon.cvs | try again in vivo, confirm same prescription as proton to confirm accuarate shifts
anatgx_cpir_1ptDixon | 10 | 0.455 | 2.8 | 41 | gx_cpir_1ptDixon/radial3D_1h_fov325_mtx56_intlv5000_kdt18_gmax19_smax141_dur1p4_coca_rew2_1p25_GA5.wav | /export/home/sdc/fidall/bin/recon_grid_interp.py | 5000 | 0 | GE hard pulse | 0 | 41 | ../waveforms/gx_cpir_1ptDixon/vap_phase_rf_spoiling_262112.fdl ../waveforms/gx_cpir_1ptDixon/radial3D_1h_fov325_mtx56_intlv5000_kdt18_gmax19_smax141_dur1p4_coca_rew2_1p25_GA5_phi.fdl ../waveforms/gx_cpir_1ptDixon/radial3D_1h_fov325_mtx56_intlv5000_kdt18_gmax19_smax141_dur1p4_coca_rew2_1p25_GA5_theta.fdl | 41 | ../waveforms/gx_cpir_1ptDixon/anatgx_cpir_1ptDixon.cvs
vent_cpir_floret | 3.9 | 0.333 | 19 | 42 | vent_cpir_floret/floret_xe129_fov375_mtx97_arms7p1_hub3_0p4_intlv1312_bonus10_kdt8_gmax21_smax139_dur7p7_M21.wav | /export/home/sdc/fidall/bin/recon_grid_interp.py | 928 | 0 | GE hard pulse | 0 | 42 | ../waveforms/vent_cpir_floret/vap_phase_rf_spoiling_262112.fdl | 42 | ../waveforms/vent_cpir_floret/vent_cpir_floret.cvs | lower SNR?
anatvent_cpir_floret | 5 | 0.333 | 2.9 | 43 | vent_cpir_floret/floret_h1_fov375_mtx97_arms12p6_hub3_0p4_intlv2304_bonus0_kdt2_gmax21_smax148_dur1p6_M8.wav | /export/home/sdc/fidall/bin/recon_grid_interp.py | 2304 | 0 | GE hard pulse | 0 | 43 | ../waveforms/vent_cpir_floret/vap_phase_rf_spoiling_262112.fdl | 43 | ../waveforms/vent_cpir_floret/vent_cpir_floret.cvs
Xenon_Calibration | 20 | 0.383 | 15 | 52 |  | /export/home/sdc/fidall/bin/recon_calibration_cchmc.py | 520 | 52 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho | 0 | 52 | ../waveforms/cal/cal_xectc_nexc520_ndiss500_dfreq218_freq.fdl ../waveforms/cal/vap_phase_rf_spoiling_262112.fdl | 52 | ../waveforms/cal/cal_xxx.cvs | validate in vivo
Xenon_3D_Radial_Dixon | 15 | 0.383 | 4.2 | 53 | Xenon_3D_Radial_Dixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2402_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL.wav | /export/home/sdc/fidall/bin/recon_grid3d_gx.py | 2396 | 53 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho | 0 | 53 | ../waveforms/Xenon_3D_Radial_Dixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2402_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL_flip.fdl ../waveforms/Xenon_3D_Radial_Dixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2402_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL_freq.fdl ../waveforms/Xenon_3D_Radial_Dixon/vap_phase_rf_spoiling_262112.fdl | 53 | ../waveforms/Xenon_3D_Radial_Dixon/Xenon_3D_Radial_Dixon.cvs | validate in vivo
gx_cpir_40MRSI | 16.3 | 0.387 | 10 | 55 | gx_cpir_MRSI/mrsi3D_129Xe_scheme4_3_fov400_400_320_mtx40_40_32_bw20000_npts88_nexc1437_gmax30_smax144_ncok50_10.wav | /export/home/sdc/fidall/bin/recon_mrsi_xenon.py | 1928 | 55 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho | 0 | 55 | ../waveforms/gx_cpir_MRSI/vap_flip_gx_16p293deg_tr10_10sat.fdl ../waveforms/gx_cpir_MRSI/vap_phase_rf_spoiling_262112.fdl | 55 | ../waveforms/gx_cpir_MRSI/gx_cpir_mrsi.cvs | improve quality
gx_cpir_35MRSI | 16.3 | 0.387 | 10 | 56 | gx_cpir_MRSI/mrsi3D_129Xe_scheme4_3_fov350_350_280_mtx35_35_28_bw20000_npts88_nexc1264_gmax30_smax142_ncok50_10.wav | /export/home/sdc/fidall/bin/recon_mrsi_xenon.py | 1357 | 56 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho | 0 | 56 | ../waveforms/gx_cpir_MRSI/vap_flip_gx_16p293deg_tr10_10sat.fdl ../waveforms/gx_cpir_MRSI/vap_phase_rf_spoiling_262112.fdl | 56 | ../waveforms/gx_cpir_MRSI/gx_cpir_mrsi.cvs | improve quality
gx_cpir_30MRSI | 16.3 | 0.387 | 10 | 57 | gx_cpir_MRSI/mrsi3D_129Xe_scheme4_3_fov300_300_240_mtx30_30_24_bw20000_npts88_nexc1047_gmax29_smax140_ncok50_10.wav | /export/home/sdc/fidall/bin/recon_mrsi_xenon.py | 907 | 57 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho | 0 | 57 | ../waveforms/gx_cpir_MRSI/vap_flip_gx_16p293deg_tr10_10sat.fdl ../waveforms/gx_cpir_MRSI/vap_phase_rf_spoiling_262112.fdl | 57 | ../waveforms/gx_cpir_MRSI/gx_cpir_mrsi.cvs | improve quality
gx_cpir_25MRSI | 16.3 | 0.387 | 10 | 58 | gx_cpir_MRSI/mrsi3D_129Xe_scheme4_3_fov250_250_200_mtx25_25_20_bw20000_npts88_nexc835_gmax30_smax140_ncok50_10.wav | /export/home/sdc/fidall/bin/recon_mrsi_xenon.py | 578 | 58 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho | 0 | 58 | ../waveforms/gx_cpir_MRSI/vap_flip_gx_16p293deg_tr10_10sat.fdl ../waveforms/gx_cpir_MRSI/vap_phase_rf_spoiling_262112.fdl | 58 | ../waveforms/gx_cpir_MRSI/gx_cpir_mrsi.cvs | improve quality
gx_XeCTC_1ptDixon | 20 | 0.383 | 7.5 | 66 | gx_XeCTC_1ptDixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2002_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL.wav | /export/home/sdc/fidall/bin/recon_grid3d_gx.py | 2002 | 66 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho | 0 | 66 | ../waveforms/gx_XeCTC_1ptDixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2002_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL_flip.fdl ../waveforms/gx_XeCTC_1ptDixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2002_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL_freq.fdl ../waveforms/gx_XeCTC_1ptDixon/vap_phase_rf_spoiling_262112.fdl | 66 | ../waveforms/gx_XeCTC_1ptDixon/gx_xectc_1ptDixon.cvs | validate in vivo
anatgx_XeCTC_1ptDixon | 10 | 0.455 | 3.4 | 67 | gx_XeCTC_1ptDixon/radial3D_1h_fov400_mtx64_intlv4600_kdt18_gmax6_smax17_dur2_coca_rew2_1p25_HAL.wav | /export/home/sdc/fidall/bin/recon_grid_interp.py | 4600 | 0 | GE hard pulse | 0 | 67 | ../waveforms/gx_XeCTC_1ptDixon/vap_phase_rf_spoiling_262112.fdl ../waveforms/gx_XeCTC_1ptDixon/radial3D_1h_fov400_mtx64_intlv4600_kdt18_gmax6_smax17_dur2_coca_rew2_1p25_HAL_phi.fdl ../waveforms/gx_XeCTC_1ptDixon/radial3D_1h_fov400_mtx64_intlv4600_kdt18_gmax6_smax17_dur2_coca_rew2_1p25_HAL_theta.fdl | 67 | ../waveforms/gx_XeCTC_1ptDixon/anatgx_XeCTC_1ptDixon.cvs
qa_cpir_nutation | 180 | 0 | 2500 | 68 |  | /export/home/sdc/fidall/bin/recon_nutation.py | 18 | 7 |  | 0 | 68 | ../waveforms/qa_cpir_nutation/qa_cpir_nutation_nexc18_start10_end180_flip.fdl | 68 | ../waveforms/qa_cpir_nutation/qa_cpir_nutation.cvs
vent_cpir_40SpiralVD2d | 20.2 | 2.048 | 188.2 | 70 | vent_cpir_2dSpiralVD/spiralbni_129xe_fov400_mtx134_nexc26_bonus2_vd2start0p5stop1r2_kdt4_gmax41_smax119_dur6p9_M4.wav | /export/home/sdc/fidall/bin/recon_grid_interp.py | 26 | 1 | GE soft pulse | 0 | 70 | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl | 70 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
vent_cpir_35SpiralVD2d | 20.2 | 2.048 | 191.7 | 71 | vent_cpir_2dSpiralVD/spiralbni_129xe_fov350_mtx117_nexc22_bonus2_vd2start0p5stop1r2_kdt4_gmax41_smax119_dur7p2_M4.wav | /export/home/sdc/fidall/bin/recon_grid_interp.py | 22 | 1 | GE soft pulse | 0 | 71 | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl | 71 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
vent_cpir_30SpiralVD2d | 21.3 | 2.048 | 173.1 | 72 | vent_cpir_2dSpiralVD/spiralbni_129xe_fov300_mtx100_nexc20_bonus2_vd2start0p5stop1r2_kdt4_gmax41_smax119_dur6p8_M4.wav | /export/home/sdc/fidall/bin/recon_grid_interp.py | 20 | 1 | GE soft pulse | 0 | 72 | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl | 72 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
vent_cpir_25SpiralVD2d | 24 | 2.048 | 155.1 | 73 | vent_cpir_2dSpiralVD/spiralbni_129xe_fov250_mtx84_nexc18_bonus2_vd2start0p5stop1r2_kdt4_gmax41_smax119_dur6p5_M4.wav | /export/home/sdc/fidall/bin/recon_grid_interp.py | 18 | 1 | GE soft pulse | 0 | 73 | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl | 73 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
vent_cpir_20SpiralVD2d | 25.9 | 2.048 | 159.9 | 74 | vent_cpir_2dSpiralVD/spiralbni_129xe_fov200_mtx67_nexc14_bonus2_vd2start0p5stop1r2_kdt8_gmax41_smax119_dur6p9_M4.wav | /export/home/sdc/fidall/bin/recon_grid_interp.py | 14 | 1 | GE soft pulse | 0 | 74 | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl | 74 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
anatvent_cpir_40SpiralVD2d | 10 | 1.204 | 111.7 | 75 | vent_cpir_2dSpiralVD/spiralbni_1h_fov400_mtx134_nexc24_bonus0_vd0start0stop1r1_kdt2_gmax24_smax149_dur2p1_M4.wav | /export/home/sdc/fidall/bin/recon_grid_interp.py | 24 | 1 | GE soft pulse | 0 | 75 | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl | 75 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
anatvent_cpir_35SpiralVD2d | 10 | 1.204 | 104.3 | 76 | vent_cpir_2dSpiralVD/spiralbni_1h_fov350_mtx117_nexc21_bonus0_vd0start0stop1r1_kdt2_gmax24_smax149_dur2p1_M4.wav | /export/home/sdc/fidall/bin/recon_grid_interp.py | 21 | 1 | GE soft pulse | 0 | 76 | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl | 76 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
anatvent_cpir_30SpiralVD2d | 10 | 1.204 | 96.8 | 77 | vent_cpir_2dSpiralVD/spiralbni_1h_fov300_mtx100_nexc18_bonus0_vd0start0stop1r1_kdt2_gmax24_smax149_dur2p1_M4.wav | /export/home/sdc/fidall/bin/recon_grid_interp.py | 18 | 1 | GE soft pulse | 0 | 77 | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl | 77 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
anatvent_cpir_25SpiralVD2d | 10 | 1.204 | 89.4 | 78 | vent_cpir_2dSpiralVD/spiralbni_1h_fov250_mtx84_nexc15_bonus0_vd0start0stop1r1_kdt2_gmax24_smax149_dur2p1_M4.wav | /export/home/sdc/fidall/bin/recon_grid_interp.py | 15 | 1 | GE soft pulse | 0 | 78 | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl | 78 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
anatvent_cpir_20SpiralVD2d | 10 | 1.204 | 89.5 | 79 | vent_cpir_2dSpiralVD/spiralbni_1h_fov200_mtx67_nexc12_bonus0_vd0start0stop1r1_kdt4_gmax24_smax149_dur2p1_M4.wav | /export/home/sdc/fidall/bin/recon_grid_interp.py | 12 | 1 | GE soft pulse | 0 | 79 | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl | 79 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
Note on B8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: is 30 in UI for saturation/dummy pulses
Note on E10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: via rhrecon
Note on E11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: via rhrecon
Note on E21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: via rhrecon
Note on B23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: is 49 in UI for saturation/dummy pulses
Note on B24: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: is 49 in UI for saturation/dummy pulses
Note on B25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: is 49 in UI for saturation/dummy pulses
Note on B26: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: is 49 in UI for saturation/dummy pulses

## ak_grad links
Link # | ak_grad
1 | MRSI Mode
2 | spiral/spiral_13C_fov80_mtx28_arms1_kdt24_gmax33_smax119_dur24p6.wav
3 | spiral/spiral_13C_fov120_mtx34_arms1_kdt16_gmax33_smax119_dur25p3.wav
4 | spiral/spiral_13C_fov200_mtx42_arms1_kdt8_gmax33_smax119_dur25p7.wav
5 | spiral/spiral_13C_fov300_mtx48_arms1_kdt8_gmax30_smax119_dur25p5.wav
6 | spiral/spiral_13C_fov400_mtx52_arms1_kdt8_gmax27_smax119_dur24p9.wav
7 | spiral/spiral_1H_fov200_mtx50_arms1_kdt2_gmax19_smax119_dur16p6.wav
8 | spiral/spiral_1H_fov200_mtx200_arms50_kdt2_gmax29_smax119_dur3p3.wav
9 | spiral/spiral_1H_fov400_mtx100_arms4_kdt2_gmax15_smax119_dur9.wav
10 | mrp/radial2D_1H_fov200_mtx300_intlv1000_kdt4_gmax25_smax100_dur4p5_fsca_rew1_GA7.wav
11 | mrp/radial4D_1H_fov200_53_mtx300_20_intlv40000_kdt4_gmax25_smax100_dur4p5_fsca_rew1_GA7_zPE3.wav
12
13
14
15 | cart/cart2D_129Xe_fov300x240_mtx100x80_nexc80_kdt20_gmax32_smax99_dur4p92.wav
16 | cart/cart3D_129Xe_fov300x240x144_mtx100x80x24_nexc1928_kdt20_gmax33_smax92_dur5p76_bal_co.wav
17 | mrsi/mrsi3D_129Xe_scheme2_3_fov270_240_150_mtx18_16_10_bw20000_npts88_nexc1586_gmax16_smax87_crush2.wav
18 | radial/radial3D_1H_fov170_mtx200_intlv61712_kdt4_gmax32_smax120_dur1p3_coca_rew2_1.wav
19 | radial/radial3D_23Na_fov159_mtx80_intlv20230_kdt24_gmax33_smax120_dur16p1_coda_rew2_1.wav
20 | spsp_profile/gz_fov200_mtx512_13c_gmax23_smax75.wav
21 | spsp_profile/gz_fov200_mtx512_1h_gmax23_smax75.wav
22 | epsi/flyback_13C_x_fov82_gmax50_smax200.wav
23 | epsi/flyback_13C_y_fov82_gmax50_smax200.wav
24 | epsi/flyback_13C_z_fov82_gmax50_smax200.wav
25 | mrp/spiral225_225_MRP_16Gmax_80Slew_1H_377int.wav
26 | mrp/spiral225_225_MRP_33Gmax_120Slew_1H_89int.wav
27 | grad_noise/grad_noise_spiral_13C_fov300_ksamp2_gmax30_smax119_dur27p1.wav
28 | mrsi/mrsi3D_2H_scheme4_fov140_mtx10_bw5000_npts700_nexc1678_gmax31_smax116.wav
29 | mrp/3Dspiral_fov_256_npix_200_gmax_18_smax_60_nphi_880.wav
30
31
32
33
34
35 | diff_cpir_2dCart4bs/diffcart2D_129Xe_fov400_mtx80_nexc320_kdt52_gmax29_smax98_dur14p9_co.wav
36 | diff_cpir_2dCart4bs/diffcart2D_129Xe_fov350_mtx70_nexc280_kdt52_gmax29_smax98_dur14p3_co.wav
37 | diff_cpir_2dCart4bs/diffcart2D_129Xe_fov300_mtx60_nexc240_kdt52_gmax29_smax98_dur13p8_co.wav
38 | diff_cpir_2dCart4bs/diffcart2D_129Xe_fov250_mtx50_nexc200_kdt52_gmax29_smax98_dur13p4_co.wav
39 | diff_cpir_2dCart4bs/diffcart2D_129Xe_fov200_mtx40_nexc160_kdt52_gmax29_smax98_dur12p9_co.wav
40 | gx_cpir_1ptDixon/interleaved_radial3D_129xe_fov325_mtx56_intlv2002_kdt18_gmax37_smax144_dur1p6_coca_rew2_1p25_GA5.wav
41 | gx_cpir_1ptDixon/radial3D_1h_fov325_mtx56_intlv5000_kdt18_gmax19_smax141_dur1p4_coca_rew2_1p25_GA5.wav
42 | vent_cpir_floret/floret_xe129_fov375_mtx97_arms7p1_hub3_0p4_intlv1312_bonus10_kdt8_gmax21_smax139_dur7p7_M21.wav
43 | vent_cpir_floret/floret_h1_fov375_mtx97_arms12p6_hub3_0p4_intlv2304_bonus0_kdt2_gmax21_smax148_dur1p6_M8.wav
44
45
46
47
48
49
50
51
52
53 | Xenon_3D_Radial_Dixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2402_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL.wav
54
55 | gx_cpir_MRSI/mrsi3D_129Xe_scheme4_3_fov400_400_320_mtx40_40_32_bw20000_npts88_nexc1437_gmax30_smax144_ncok50_10.wav
56 | gx_cpir_MRSI/mrsi3D_129Xe_scheme4_3_fov350_350_280_mtx35_35_28_bw20000_npts88_nexc1264_gmax30_smax142_ncok50_10.wav
57 | gx_cpir_MRSI/mrsi3D_129Xe_scheme4_3_fov300_300_240_mtx30_30_24_bw20000_npts88_nexc1047_gmax29_smax140_ncok50_10.wav
58 | gx_cpir_MRSI/mrsi3D_129Xe_scheme4_3_fov250_250_200_mtx25_25_20_bw20000_npts88_nexc835_gmax30_smax140_ncok50_10.wav
59
60
61
62
63
64
65 | qa_cpir_PhantomCSI/mrsi3D_129Xe_scheme4_3_fov400_400_200_mtx40_40_20_bw5000_npts256_nexc1796_gmax30_smax144.wav
66 | gx_XeCTC_1ptDixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2002_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL.wav
67 | gx_XeCTC_1ptDixon/radial3D_1h_fov400_mtx64_intlv4600_kdt18_gmax6_smax17_dur2_coca_rew2_1p25_HAL.wav
68
69
70 | vent_cpir_2dSpiralVD/spiralbni_129xe_fov400_mtx134_nexc26_bonus2_vd2start0p5stop1r2_kdt4_gmax41_smax119_dur6p9_M4.wav
71 | vent_cpir_2dSpiralVD/spiralbni_129xe_fov350_mtx117_nexc22_bonus2_vd2start0p5stop1r2_kdt4_gmax41_smax119_dur7p2_M4.wav
72 | vent_cpir_2dSpiralVD/spiralbni_129xe_fov300_mtx100_nexc20_bonus2_vd2start0p5stop1r2_kdt4_gmax41_smax119_dur6p8_M4.wav
73 | vent_cpir_2dSpiralVD/spiralbni_129xe_fov250_mtx84_nexc18_bonus2_vd2start0p5stop1r2_kdt4_gmax41_smax119_dur6p5_M4.wav
74 | vent_cpir_2dSpiralVD/spiralbni_129xe_fov200_mtx67_nexc14_bonus2_vd2start0p5stop1r2_kdt8_gmax41_smax119_dur6p9_M4.wav
75 | vent_cpir_2dSpiralVD/spiralbni_1h_fov400_mtx134_nexc24_bonus0_vd0start0stop1r1_kdt2_gmax24_smax149_dur2p1_M4.wav
76 | vent_cpir_2dSpiralVD/spiralbni_1h_fov350_mtx117_nexc21_bonus0_vd0start0stop1r1_kdt2_gmax24_smax149_dur2p1_M4.wav
77 | vent_cpir_2dSpiralVD/spiralbni_1h_fov300_mtx100_nexc18_bonus0_vd0start0stop1r1_kdt2_gmax24_smax149_dur2p1_M4.wav
78 | vent_cpir_2dSpiralVD/spiralbni_1h_fov250_mtx84_nexc15_bonus0_vd0start0stop1r1_kdt2_gmax24_smax149_dur2p1_M4.wav
79 | vent_cpir_2dSpiralVD/spiralbni_1h_fov200_mtx67_nexc12_bonus0_vd0start0stop1r1_kdt4_gmax24_smax149_dur2p1_M4.wav
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99

## rf links
Link # | exrf rho | exrf_gz | exrf_cvs | return
0 | GE hard pulse |  |  | GE hard pulse
1 | GE soft pulse |  |  | GE soft pulse
2 | /export/home/sdc/fidall/waveforms/rffiles/spsp2d_hshi_5_2_15_4374_17496.rho | /export/home/sdc/fidall/waveforms/rffiles/spsp2d_hshi_5_2_15_4374_17496.gz | ../waveforms/rffiles/spsp2d_hshi_5_2_15_4374_17496.cvs | /export/home/sdc/fidall/waveforms/rffiles/spsp2d_hshi_5_2_15_4374_17496.rho /export/home/sdc/fidall/waveforms/rffiles/spsp2d_hshi_5_2_15_4374_17496.gz ../waveforms/rffiles/spsp2d_hshi_5_2_15_4374_17496.cvs
3 | /export/home/sdc/fidall/waveforms/rffiles/spsp2d_cent_1_2_21_6054_24216.rho | /export/home/sdc/fidall/waveforms/rffiles/spsp2d_cent_1_2_21_6054_24216.gz |  | /export/home/sdc/fidall/waveforms/rffiles/spsp2d_cent_1_2_21_6054_24216.rho /export/home/sdc/fidall/waveforms/rffiles/spsp2d_cent_1_2_21_6054_24216.gz
4 | export/home/sdc/fidall/waveforms/rffiles/spsp2d_flyb_4_2_18_5610_22440.rho | /export/home/sdc/fidall/waveforms/rffiles/spsp2d_flyb_4_2_18_5610_22440.gz |  | export/home/sdc/fidall/waveforms/rffiles/spsp2d_flyb_4_2_18_5610_22440.rho /export/home/sdc/fidall/waveforms/rffiles/spsp2d_flyb_4_2_18_5610_22440.gz
5 | /export/home/sdc/fidall/waveforms/rffiles/mnsrp_freqsel_n750_t30_bw80_ftw0p9.rho |  |  | /export/home/sdc/fidall/waveforms/rffiles/mnsrp_freqsel_n750_t30_bw80_ftw0p9.rho
6 | /export/home/sdc/fidall/waveforms/rffiles/rf4ssfp_FA90_nBW22_thick3_B1max12747_dur3424_gmax33_smax120.rho | /export/home/sdc/fidall/waveforms/rffiles/rf4ssfp_FA90_nBW22_thick3_B1max12747_dur3424_gmax33_smax120.gz |  | /export/home/sdc/fidall/waveforms/rffiles/rf4ssfp_FA90_nBW22_thick3_B1max12747_dur3424_gmax33_smax120.rho /export/home/sdc/fidall/waveforms/rffiles/rf4ssfp_FA90_nBW22_thick3_B1max12747_dur3424_gmax33_smax120.gz
7
8
9
10 | /export/home/sdc/fidall/waveforms/rffiles/exrf_spat_flip90_t2_ref0p5_b1max20p845_bw3500_sb2100.rho |  |  | /export/home/sdc/fidall/waveforms/rffiles/exrf_spat_flip90_t2_ref0p5_b1max20p845_bw3500_sb2100.rho
11 | /export/home/sdc/fidall/waveforms/rffiles/exrf_spat_flip90_t3_ref0p4_b1max10p873_bw1800_sb1080.rho |  |  | /export/home/sdc/fidall/waveforms/rffiles/exrf_spat_flip90_t3_ref0p4_b1max10p873_bw1800_sb1080.rho
12 | /export/home/sdc/fidall/waveforms/rffiles/hardpulse_flip20_pw112.rho |  |  | /export/home/sdc/fidall/waveforms/rffiles/hardpulse_flip20_pw112.rho
13 | /export/home/sdc/fidall/waveforms/rffiles/hardpulse_flip30_pw160.rho |  |  | /export/home/sdc/fidall/waveforms/rffiles/hardpulse_flip30_pw160.rho
14
15
16 | /export/home/sdc/fidall/waveforms/rffiles/exrf_freq_flip40_t1p2_ref0p5_b1max6p3494_bw500.rho |  | ../waveforms/rffiles/exrf_freq_flip40_t1p2_ref0p5_b1max6p3494_bw500.cvs | /export/home/sdc/fidall/waveforms/rffiles/exrf_freq_flip40_t1p2_ref0p5_b1max6p3494_bw500.rho ../waveforms/rffiles/exrf_freq_flip40_t1p2_ref0p5_b1max6p3494_bw500.cvs
17 | /export/home/sdc/fidall/waveforms/rffiles/exrf_freq_flip40_t0p6_ref0p5_b1max11p855_bw1000.rho |  | ../waveforms/rffiles/exrf_freq_flip40_t0p6_ref0p5_b1max11p855_bw1000.cvs | /export/home/sdc/fidall/waveforms/rffiles/exrf_freq_flip40_t0p6_ref0p5_b1max11p855_bw1000.rho ../waveforms/rffiles/exrf_freq_flip40_t0p6_ref0p5_b1max11p855_bw1000.cvs
18 | rffiles/exrf_freq_flip40_t0p6_ref0p5_b1max12p375_bw1000_sb7130.rho |  |  | rffiles/exrf_freq_flip40_t0p6_ref0p5_b1max12p375_bw1000_sb7130.rho
19
20 | RF_pulses/hardpulse_flip195_pw1000.rho |  |  | RF_pulses/hardpulse_flip195_pw1000.rho
21 | RF_pulses/hardpulse_flip176_pw904.rho |  |  | RF_pulses/hardpulse_flip176_pw904.rho
22 | RF_pulses/hardpulse_flip156_pw800.rho |  |  | RF_pulses/hardpulse_flip156_pw800.rho
23 | RF_pulses/hardpulse_flip137_pw704.rho |  |  | RF_pulses/hardpulse_flip137_pw704.rho
24 | RF_pulses/hardpulse_flip116_pw600.rho |  |  | RF_pulses/hardpulse_flip116_pw600.rho
25
26
27
28
29
30 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho |  |  | rffiles/129Xe_freq_5000hz_600us_3tbw.rho
31 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho |  |  | rffiles/129Xe_freq_5000hz_600us_3tbw.rho
32
33
34
35
36
37
38
39
40 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho |  |  | rffiles/129Xe_freq_5000hz_600us_3tbw.rho
41
42
43
44
45
46
47
48
49
50
51
52 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho |  |  | rffiles/129Xe_freq_5000hz_600us_3tbw.rho
53 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho |  |  | rffiles/129Xe_freq_5000hz_600us_3tbw.rho
54
55 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho |  |  | rffiles/129Xe_freq_5000hz_600us_3tbw.rho
56 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho |  |  | rffiles/129Xe_freq_5000hz_600us_3tbw.rho
57 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho |  |  | rffiles/129Xe_freq_5000hz_600us_3tbw.rho
58 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho |  |  | rffiles/129Xe_freq_5000hz_600us_3tbw.rho
59
60
61
62
63
64
65
66 | rffiles/129Xe_freq_5000hz_600us_3tbw.rho |  |  | rffiles/129Xe_freq_5000hz_600us_3tbw.rho
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99

## recon links
Link # | recon26
0 | /export/home/sdc/fidall/bin/recon_prescan.py
1 | /export/home/sdc/fidall/bin/stack_plot.py /export/home/sdc/fidall/bin/recon_csi.py /export/home/sdc/fidall/bin/recon_prescan.py
2 | /export/home/sdc/fidall/bin/recon_spiral.py
3 | /export/home/sdc/fidall/bin/recon_spiral.py
4 | /export/home/sdc/fidall/bin/recon_spiral.py
5 | /export/home/sdc/fidall/bin/recon_spiral.py
6 | /export/home/sdc/fidall/bin/recon_spiral.py
7 | /export/home/sdc/fidall/bin/recon_grid.py
8 | /export/home/sdc/fidall/bin/recon_grid.py
9 | /export/home/sdc/fidall/bin/recon_grid.py
10 | /export/home/sdc/fidall/bin/recon_grid.py
11 | /export/home/sdc/fidall/bin/recon_grid.py
12
13 | /export/home/sdc/fidall/bin/recon_mrsi.py
14
15 | /export/home/sdc/fidall/bin/recon_cart_interp.py
16 | /export/home/sdc/fidall/bin/recon_cart.py
17 | /export/home/sdc/fidall/bin/recon_mrsi_xenon.py
18 | /export/home/sdc/fidall/bin/recon_grid.py
19 | /export/home/sdc/fidall/bin/recon_grid.py
20 | /export/home/sdc/fidall/bin/recon_spsp_profile.py
21 | /export/home/sdc/fidall/bin/recon_spsp_profile.py
22 | /export/home/sdc/fidall/bin/recon_fidall_epsi.py
23 | /export/home/sdc/fidall/bin/recon_fidall_epsi.py
24 | /export/home/sdc/fidall/bin/recon_fidall_epsi.py
25 | /export/home/sdc/fidall/bin/recon_grid.py
26 | /export/home/sdc/fidall/bin/recon_grid.py
27 | /export/home/sdc/fidall/bin/characterise_grad_noise.py
28 | /export/home/sdc/fidall/bin/recon_mrsi.py
29 | /export/home/sdc/fidall/bin/recon_grid.py
30 | /export/home/sdc/fidall/bin/recon_calibration_cchmc.py
31 | /export/home/sdc/fidall/bin/recon_calibration_cchmc.py
32
33
34
35 | /export/home/sdc/fidall/bin/recon_diffusion.py
36 | /export/home/sdc/fidall/bin/recon_diffusion.py
37 | /export/home/sdc/fidall/bin/recon_diffusion.py
38 | /export/home/sdc/fidall/bin/recon_diffusion.py
39 | /export/home/sdc/fidall/bin/recon_diffusion.py
40 | /export/home/sdc/fidall/bin/recon_grid3d_gx.py
41 | /export/home/sdc/fidall/bin/recon_grid_interp.py
42 | /export/home/sdc/fidall/bin/recon_grid_interp.py
43 | /export/home/sdc/fidall/bin/recon_grid_interp.py
44
45
46
47
48
49
50
51
52 | /export/home/sdc/fidall/bin/recon_calibration_cchmc.py
53 | /export/home/sdc/fidall/bin/recon_grid3d_gx.py
54
55 | /export/home/sdc/fidall/bin/recon_mrsi_xenon.py
56 | /export/home/sdc/fidall/bin/recon_mrsi_xenon.py
57 | /export/home/sdc/fidall/bin/recon_mrsi_xenon.py
58 | /export/home/sdc/fidall/bin/recon_mrsi_xenon.py
59
60
61
62
63
64
65
66 | /export/home/sdc/fidall/bin/recon_grid3d_gx.py
67 | /export/home/sdc/fidall/bin/recon_grid_interp.py
68 | /export/home/sdc/fidall/bin/recon_nutation.py
69
70 | /export/home/sdc/fidall/bin/recon_grid_interp.py
71 | /export/home/sdc/fidall/bin/recon_grid_interp.py
72 | /export/home/sdc/fidall/bin/recon_grid_interp.py
73 | /export/home/sdc/fidall/bin/recon_grid_interp.py
74 | /export/home/sdc/fidall/bin/recon_grid_interp.py
75 | /export/home/sdc/fidall/bin/recon_grid_interp.py
76 | /export/home/sdc/fidall/bin/recon_grid_interp.py
77 | /export/home/sdc/fidall/bin/recon_grid_interp.py
78 | /export/home/sdc/fidall/bin/recon_grid_interp.py
79 | /export/home/sdc/fidall/bin/recon_grid_interp.py
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100 | /export/home/sdc/fidall/bin/archive_pfile.py
101 | /export/home/sdc/fidall/bin/stack_plot.py
102 | /export/home/sdc/fidall/bin/recon_csi.py
103 | /export/home/sdc/fidall/bin/recon_csi_snr.py
104 | /export/home/sdc/fidall/bin/recon_csi_blosi.py
105 | /export/home/sdc/fidall/bin/recon_zte.py
106 | /export/home/sdc/fidall/bin/recon_snr_map_2Dgr.py
107 | /export/home/sdc/fidall/bin/mns_get_f0.py
108 | /export/home/sdc/fidall/bin/plot_spec_noise.py
109
110
111
112 | /export/home/sdc/fidall/bin/recon_epsi.py
113 | /export/home/sdc/fidall/bin/archive_dicom.py
114 | /export/home/sdc/fidall/bin/archive_all.py

## vap links
Link # | vap_agx | vap_agy | vap_agz | vap_flip | vap_freq | vap_phase | vap_phi | vap_theta | vap_tr | return
1
2
3
4
5
6
7
8 | [6 empty] | ../waveforms/spiral/spiral_1H_fov200_mtx200_arms50_kdt2_gmax29_smax119_dur3p3_phi.fdl |  |  | ../waveforms/spiral/spiral_1H_fov200_mtx200_arms50_kdt2_gmax29_smax119_dur3p3_phi.fdl
9
10 | [6 empty] | ../waveforms/mrp/radial2D_1H_fov200_mtx300_intlv1000_kdt4_gmax25_smax100_dur4p5_fsca_rew1_GA7_phi.fdl |  |  | ../waveforms/mrp/radial2D_1H_fov200_mtx300_intlv1000_kdt4_gmax25_smax100_dur4p5_fsca_rew1_GA7_phi.fdl
11 |  |  | ../waveforms/mrp/radial4D_1H_fov200_53_mtx300_20_intlv40000_kdt4_gmax25_smax100_dur4p5_fsca_rew1_GA7_zPE3_agz.fdl | ../waveforms/mrp/radial4D_1H_fov200_53_mtx300_20_intlv40000_kdt4_gmax25_smax100_dur4p5_fsca_rew1_GA7_zPE3_flip.fdl |  |  | ../waveforms/mrp/radial4D_1H_fov200_53_mtx300_20_intlv40000_kdt4_gmax25_smax100_dur4p5_fsca_rew1_GA7_zPE3_phi.fdl |  |  | ../waveforms/mrp/radial4D_1H_fov200_53_mtx300_20_intlv40000_kdt4_gmax25_smax100_dur4p5_fsca_rew1_GA7_zPE3_agz.fdl ../waveforms/mrp/radial4D_1H_fov200_53_mtx300_20_intlv40000_kdt4_gmax25_smax100_dur4p5_fsca_rew1_GA7_zPE3_flip.fdl ../waveforms/mrp/radial4D_1H_fov200_53_mtx300_20_intlv40000_kdt4_gmax25_smax100_dur4p5_fsca_rew1_GA7_zPE3_phi.fdl
12
13
14
15 |  |  |  | ../waveforms/cart/vap_vfa80_30.fdl | [5 empty] | ../waveforms/cart/vap_vfa80_30.fdl
16 |  |  |  | ../waveforms/cart/vap_flip_ramp_ssfp_1928.fdl | [5 empty] | ../waveforms/cart/vap_flip_ramp_ssfp_1928.fdl
17 | ../waveforms/mrsi/mrsi3D_129Xe_scheme2_3_fov270_240_150_mtx18_16_10_bw20000_npts88_nexc1586_gmax16_smax87_crush2_agx.fdl | ../waveforms/mrsi/mrsi3D_129Xe_scheme2_3_fov270_240_150_mtx18_16_10_bw20000_npts88_nexc1586_gmax16_smax87_crush2_agy.fdl | ../waveforms/mrsi/mrsi3D_129Xe_scheme2_3_fov270_240_150_mtx18_16_10_bw20000_npts88_nexc1586_gmax16_smax87_crush2_agz.fdl | ../waveforms/mrsi/vap_flip_10deg.fdl | [5 empty] | ../waveforms/mrsi/mrsi3D_129Xe_scheme2_3_fov270_240_150_mtx18_16_10_bw20000_npts88_nexc1586_gmax16_smax87_crush2_agx.fdl ../waveforms/mrsi/mrsi3D_129Xe_scheme2_3_fov270_240_150_mtx18_16_10_bw20000_npts88_nexc1586_gmax16_smax87_crush2_agy.fdl ../waveforms/mrsi/mrsi3D_129Xe_scheme2_3_fov270_240_150_mtx18_16_10_bw20000_npts88_nexc1586_gmax16_smax87_crush2_agz.fdl ../waveforms/mrsi/vap_flip_10deg.fdl
18 | [5 empty] | ../waveforms/radial/vap_phase_rand15684.fdl | ../waveforms/radial/radial3D_1H_fov170_mtx200_intlv61712_kdt4_gmax32_smax120_dur1p3_coca_rew2_1_phi.fdl | ../waveforms/radial/radial3D_1H_fov170_mtx200_intlv61712_kdt4_gmax32_smax120_dur1p3_coca_rew2_1_theta.fdl |  | ../waveforms/radial/vap_phase_rand15684.fdl ../waveforms/radial/radial3D_1H_fov170_mtx200_intlv61712_kdt4_gmax32_smax120_dur1p3_coca_rew2_1_phi.fdl ../waveforms/radial/radial3D_1H_fov170_mtx200_intlv61712_kdt4_gmax32_smax120_dur1p3_coca_rew2_1_theta.fdl
19 | [5 empty] | ../waveforms/radial/vap_phase_rand15684.fdl | ../waveforms/radial/radial3D_23Na_fov159_mtx80_intlv20230_kdt24_gmax33_smax120_dur16p1_coda_rew2_1_phi.fdl | ../waveforms/radial/radial3D_23Na_fov159_mtx80_intlv20230_kdt24_gmax33_smax120_dur16p1_coda_rew2_1_theta.fdl |  | ../waveforms/radial/vap_phase_rand15684.fdl ../waveforms/radial/radial3D_23Na_fov159_mtx80_intlv20230_kdt24_gmax33_smax120_dur16p1_coda_rew2_1_phi.fdl ../waveforms/radial/radial3D_23Na_fov159_mtx80_intlv20230_kdt24_gmax33_smax120_dur16p1_coda_rew2_1_theta.fdl
20
21
22
23
24
25 |  |  |  | ../waveforms/mrp/fisp_mrf_flip.fdl |  |  |  |  | ../waveforms/mrp/fisp_mrf_tr.fdl | ../waveforms/mrp/fisp_mrf_flip.fdl ../waveforms/mrp/fisp_mrf_tr.fdl
26 |  |  |  | ../waveforms/mrp/qti_Nreps_260_FA_7_70_flip.fdl | [5 empty] | ../waveforms/mrp/qti_Nreps_260_FA_7_70_flip.fdl
27 |  |  |  | ../waveforms/grad_noise/vap_flip_zero.fdl | [5 empty] | ../waveforms/grad_noise/vap_flip_zero.fdl
28
29 |  |  |  | ../waveforms/mrp/ramp_flip70.fdl |  |  | ../waveforms/mrp/3Dspiral_fov_256_npix_200_gmax_18_smax_60_nphi_880_phi.fdl | ../waveforms/mrp/3Dspiral_fov_256_npix_200_gmax_18_smax_60_nphi_880_theta.fdl |  | ../waveforms/mrp/ramp_flip70.fdl ../waveforms/mrp/3Dspiral_fov_256_npix_200_gmax_18_smax_60_nphi_880_phi.fdl ../waveforms/mrp/3Dspiral_fov_256_npix_200_gmax_18_smax_60_nphi_880_theta.fdl
30 |  |  |  |  | ../waveforms/cal/cal_cpir_nexc520_ndiss500_dfreq202_freq.fdl | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/cal/cal_cpir_nexc520_ndiss500_dfreq202_freq.fdl ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl
31 |  |  |  |  | ../waveforms/cal/cal_xectc_nexc520_ndiss500_dfreq218_freq.fdl | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/cal/cal_xectc_nexc520_ndiss500_dfreq218_freq.fdl ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl
32
33
34
35 | [5 empty] | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl
36 | [5 empty] | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl
37 | [5 empty] | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl
38 | [5 empty] | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl
39 | [5 empty] | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vap_rf_spoiling/vap_phase_rf_spoiling_262112.fdl
40 |  |  |  | ../waveforms/gx_cpir_1ptDixon/interleaved_radial3D_129xe_fov325_mtx56_intlv2002_kdt18_gmax37_smax144_dur1p6_coca_rew2_1p25_GA5_flip.fdl | ../waveforms/gx_cpir_1ptDixon/interleaved_radial3D_129xe_fov325_mtx56_intlv2002_kdt18_gmax37_smax144_dur1p6_coca_rew2_1p25_GA5_freq.fdl | ../waveforms/gx_cpir_1ptDixon/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/gx_cpir_1ptDixon/interleaved_radial3D_129xe_fov325_mtx56_intlv2002_kdt18_gmax37_smax144_dur1p6_coca_rew2_1p25_GA5_flip.fdl ../waveforms/gx_cpir_1ptDixon/interleaved_radial3D_129xe_fov325_mtx56_intlv2002_kdt18_gmax37_smax144_dur1p6_coca_rew2_1p25_GA5_freq.fdl ../waveforms/gx_cpir_1ptDixon/vap_phase_rf_spoiling_262112.fdl
41 | [5 empty] | ../waveforms/gx_cpir_1ptDixon/vap_phase_rf_spoiling_262112.fdl | ../waveforms/gx_cpir_1ptDixon/radial3D_1h_fov325_mtx56_intlv5000_kdt18_gmax19_smax141_dur1p4_coca_rew2_1p25_GA5_phi.fdl | ../waveforms/gx_cpir_1ptDixon/radial3D_1h_fov325_mtx56_intlv5000_kdt18_gmax19_smax141_dur1p4_coca_rew2_1p25_GA5_theta.fdl |  | ../waveforms/gx_cpir_1ptDixon/vap_phase_rf_spoiling_262112.fdl ../waveforms/gx_cpir_1ptDixon/radial3D_1h_fov325_mtx56_intlv5000_kdt18_gmax19_smax141_dur1p4_coca_rew2_1p25_GA5_phi.fdl ../waveforms/gx_cpir_1ptDixon/radial3D_1h_fov325_mtx56_intlv5000_kdt18_gmax19_smax141_dur1p4_coca_rew2_1p25_GA5_theta.fdl
42 | [5 empty] | ../waveforms/vent_cpir_floret/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vent_cpir_floret/vap_phase_rf_spoiling_262112.fdl
43 | [5 empty] | ../waveforms/vent_cpir_floret/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vent_cpir_floret/vap_phase_rf_spoiling_262112.fdl
44
45
46
47
48
49
50
51
52 |  |  |  |  | ../waveforms/cal/cal_xectc_nexc520_ndiss500_dfreq218_freq.fdl | ../waveforms/cal/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/cal/cal_xectc_nexc520_ndiss500_dfreq218_freq.fdl ../waveforms/cal/vap_phase_rf_spoiling_262112.fdl
53 |  |  |  | ../waveforms/Xenon_3D_Radial_Dixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2402_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL_flip.fdl | ../waveforms/Xenon_3D_Radial_Dixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2402_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL_freq.fdl | ../waveforms/Xenon_3D_Radial_Dixon/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/Xenon_3D_Radial_Dixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2402_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL_flip.fdl ../waveforms/Xenon_3D_Radial_Dixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2402_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL_freq.fdl ../waveforms/Xenon_3D_Radial_Dixon/vap_phase_rf_spoiling_262112.fdl
54
55 |  |  |  | ../waveforms/gx_cpir_MRSI/vap_flip_gx_16p293deg_tr10_10sat.fdl |  | ../waveforms/gx_cpir_MRSI/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/gx_cpir_MRSI/vap_flip_gx_16p293deg_tr10_10sat.fdl ../waveforms/gx_cpir_MRSI/vap_phase_rf_spoiling_262112.fdl
56 |  |  |  | ../waveforms/gx_cpir_MRSI/vap_flip_gx_16p293deg_tr10_10sat.fdl |  | ../waveforms/gx_cpir_MRSI/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/gx_cpir_MRSI/vap_flip_gx_16p293deg_tr10_10sat.fdl ../waveforms/gx_cpir_MRSI/vap_phase_rf_spoiling_262112.fdl
57 |  |  |  | ../waveforms/gx_cpir_MRSI/vap_flip_gx_16p293deg_tr10_10sat.fdl |  | ../waveforms/gx_cpir_MRSI/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/gx_cpir_MRSI/vap_flip_gx_16p293deg_tr10_10sat.fdl ../waveforms/gx_cpir_MRSI/vap_phase_rf_spoiling_262112.fdl
58 |  |  |  | ../waveforms/gx_cpir_MRSI/vap_flip_gx_16p293deg_tr10_10sat.fdl |  | ../waveforms/gx_cpir_MRSI/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/gx_cpir_MRSI/vap_flip_gx_16p293deg_tr10_10sat.fdl ../waveforms/gx_cpir_MRSI/vap_phase_rf_spoiling_262112.fdl
59
60
61
62
63
64
65
66 |  |  |  | ../waveforms/gx_XeCTC_1ptDixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2002_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL_flip.fdl | ../waveforms/gx_XeCTC_1ptDixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2002_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL_freq.fdl | ../waveforms/gx_XeCTC_1ptDixon/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/gx_XeCTC_1ptDixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2002_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL_flip.fdl ../waveforms/gx_XeCTC_1ptDixon/interleaved_radial3D_129xe_fov400_mtx64_intlv2002_kdt10_gmax31_smax106_dur1p2_coca_rew2_1p25_HAL_freq.fdl ../waveforms/gx_XeCTC_1ptDixon/vap_phase_rf_spoiling_262112.fdl
67 | [5 empty] | ../waveforms/gx_XeCTC_1ptDixon/vap_phase_rf_spoiling_262112.fdl | ../waveforms/gx_XeCTC_1ptDixon/radial3D_1h_fov400_mtx64_intlv4600_kdt18_gmax6_smax17_dur2_coca_rew2_1p25_HAL_phi.fdl | ../waveforms/gx_XeCTC_1ptDixon/radial3D_1h_fov400_mtx64_intlv4600_kdt18_gmax6_smax17_dur2_coca_rew2_1p25_HAL_theta.fdl |  | ../waveforms/gx_XeCTC_1ptDixon/vap_phase_rf_spoiling_262112.fdl ../waveforms/gx_XeCTC_1ptDixon/radial3D_1h_fov400_mtx64_intlv4600_kdt18_gmax6_smax17_dur2_coca_rew2_1p25_HAL_phi.fdl ../waveforms/gx_XeCTC_1ptDixon/radial3D_1h_fov400_mtx64_intlv4600_kdt18_gmax6_smax17_dur2_coca_rew2_1p25_HAL_theta.fdl
68 |  |  |  | ../waveforms/qa_cpir_nutation/qa_cpir_nutation_nexc18_start10_end180_flip.fdl | [5 empty] | ../waveforms/qa_cpir_nutation/qa_cpir_nutation_nexc18_start10_end180_flip.fdl
69
70 | [5 empty] | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl
71 | [5 empty] | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl
72 | [5 empty] | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl
73 | [5 empty] | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl
74 | [5 empty] | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl
75 | [5 empty] | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl
76 | [5 empty] | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl
77 | [5 empty] | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl
78 | [5 empty] | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl
79 | [5 empty] | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl |  |  |  | ../waveforms/vent_cpir_2dSpiralVD/vap_phase_rf_spoiling_262112.fdl
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99

## cv_pars links
Link # | cv_pars
1 | cv_pars_13C_Pyr_ideal_spiral.cvs
2 | cv_pars_13C_Pyr_spsp.cvs
3
4 | cv_pars_dda4.cvs
5
6
7
8
9
10 | ../waveforms/mrp/cv_pars_radial2d.txt
11 | ../waveforms/mrp/cv_pars_radial4d_qti1000.txt
12 | cv_pars12.cvs
13
14
15 | ../waveforms/cart/cv_pars_spgr.cvs
16 | ../waveforms/cart/cv_pars_ssfp.cvs
17 | ../waveforms/mrsi/cv_pars_mrsi_xenon.cvs
18 | ../waveforms/radial/cv_pars_3Dradial_1H.cvs
19 | ../waveforms/radial/cv_pars_3Dradial_23Na.cvs
20 | cv_pars20.cvs
21 | cv_pars21.cvs
22
23
24
25 | ../waveforms/mrp/cv_pars_mrp_2D_globalinv.cvs
26 | ../waveforms/mrp/cv_pars_mrp_2D_localinv.cvs
27 | ../waveforms/grad_noise/cv_pars_noise.cvs
28
29 | ../waveforms/mrp/cv_3D.cvs
30 | ../waveforms/cal/cal_xxx.cvs
31 | ../waveforms/cal/cal_xxx.cvs
32
33
34
35 | ../waveforms/diff_cpir_2dCart4bs/diff_cpir_2dCart4bs.cvs
36 | ../waveforms/diff_cpir_2dCart4bs/diff_cpir_2dCart4bs.cvs
37 | ../waveforms/diff_cpir_2dCart4bs/diff_cpir_2dCart4bs.cvs
38 | ../waveforms/diff_cpir_2dCart4bs/diff_cpir_2dCart4bs.cvs
39 | ../waveforms/diff_cpir_2dCart4bs/diff_cpir_2dCart4bs.cvs
40 | ../waveforms/gx_cpir_1ptDixon/gx_cpir_1ptDixon.cvs
41 | ../waveforms/gx_cpir_1ptDixon/anatgx_cpir_1ptDixon.cvs
42 | ../waveforms/vent_cpir_floret/vent_cpir_floret.cvs
43 | ../waveforms/vent_cpir_floret/vent_cpir_floret.cvs
44
45
46
47
48
49
50
51
52 | ../waveforms/cal/cal_xxx.cvs
53 | ../waveforms/Xenon_3D_Radial_Dixon/Xenon_3D_Radial_Dixon.cvs
54
55 | ../waveforms/gx_cpir_MRSI/gx_cpir_mrsi.cvs
56 | ../waveforms/gx_cpir_MRSI/gx_cpir_mrsi.cvs
57 | ../waveforms/gx_cpir_MRSI/gx_cpir_mrsi.cvs
58 | ../waveforms/gx_cpir_MRSI/gx_cpir_mrsi.cvs
59
60
61
62
63
64
65
66 | ../waveforms/gx_XeCTC_1ptDixon/gx_xectc_1ptDixon.cvs
67 | ../waveforms/gx_XeCTC_1ptDixon/anatgx_XeCTC_1ptDixon.cvs
68 | ../waveforms/qa_cpir_nutation/qa_cpir_nutation.cvs
69
70 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
71 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
72 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
73 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
74 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
75 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
76 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
77 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
78 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
79 | ../waveforms/vent_cpir_2dSpiralVD/vent_cpir_2dSpiralVD.cvs
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99